## Slide 1
Wind Energy Resources
Modeling and Analysis
Technical Presentation
By
Mohamed Abuella
August 6th, 2019

## Slide 2
Four U.S. Locations are Chosen for Comparison of Wind Energy Modeling
Charlotte NC, Boston MA, Boulder CO, Tucson AZ.
For Different Locations in the U.S.
Data are retrieved from NREL’s Developer Network: https://developer.nrel.gov/
Wind Energy Resources Modeling and Analysis

## Slide 3
Charlotte, NC
Boston, MA
Boulder, CO
Tucson, AZ
Time series of wind speed at height 100m (m/s)
Wind Energy Resources Modeling

## Slide 4
Charlotte, NC
Boston, MA
Boulder, CO
Tucson, AZ
Boxplots of monthly distribution of wind speed
Wind Energy Resources Modeling

## Slide 5
Charlotte, NC
Boston, MA
Boulder, CO
Tucson, AZ
Wind Roses of Wind Speed
Distribution of wind direction and speed
Wind Energy Resources Modeling

## Slide 6
Charlotte, NC
Boston, MA
Boulder, CO
Tucson, AZ
Probability density distribution of wind speed
Wind Energy Resources Modeling

## Slide 7
Charlotte, NC
Boston, MA
Boulder, CO
Tucson, AZ
Wind turbine GE 1.5SLE 77m is utilized for modeling
The wind power curve for GE 1.5SLE 77m
to covert the wind speed to wind power
http://www.wind-power-program.com/Downloads/Databasepowercurves(May2017).zip
Wind Energy Resources Modeling

## Slide 8
Charlotte, NC
Boston, MA
Boulder, CO
Tucson, AZ
Probability density distribution of wind power
Considering other parameters such as air pressure, temperature and density at the given height=100m
Wind Energy Resources Modeling

## Slide 9
Charlotte, NC
Boston, MA
Boulder, CO
Tucson, AZ
Month0 | MWh | NCF
1 | 467.945 | 41.90%
2 | 584.361 | 58.00%
3 | 510.499 | 45.70%
4 | 512.191 | 47.40%
5 | 420.662 | 37.70%
6 | 239.808 | 22.20%
7 | 354.663 | 31.80%
8 | 285.923 | 25.60%
9 | 396.328 | 36.70%
10 | 504.488 | 45.20%
11 | 471.683 | 43.70%
12 | 691.553 | 62.00%
Month | MWh | NCF
1 | 387.574 | 34.70%
2 | 455.725 | 45.20%
3 | 410.236 | 36.80%
4 | 456.256 | 42.20%
5 | 381.352 | 34.20%
6 | 193.475 | 17.90%
7 | 230.690 | 20.70%
8 | 141.379 | 12.70%
9 | 197.738 | 18.30%
10 | 310.630 | 27.80%
11 | 355.663 | 32.90%
12 | 298.279 | 26.70%
Month | MWh | NCF
1 | 413.396 | 37.00%
2 | 288.217 | 28.60%
3 | 382.094 | 34.20%
4 | 339.568 | 31.40%
5 | 222.077 | 19.90%
6 | 187.928 | 17.40%
7 | 216.100 | 19.40%
8 | 215.737 | 19.30%
9 | 268.648 | 24.90%
10 | 206.966 | 18.50%
11 | 224.898 | 20.80%
12 | 312.770 | 28.00%
Month0 | MWh | NCF
1 | 262.764 | 23.50%
2 | 247.664 | 24.60%
3 | 259.804 | 23.30%
4 | 378.228 | 35.00%
5 | 184.679 | 16.50%
6 | 188.630 | 17.50%
7 | 111.523 | 10.00%
8 | 143.448 | 12.90%
9 | 223.078 | 20.70%
10 | 258.261 | 23.10%
11 | 236.885 | 21.90%
12 | 274.958 | 24.60%
Wind Energy Modeling
in 2009
Calculating the net capacity factor (NCF)
for each month, then over the entire year
NCF=
NCF=
Wind Energy Resources Modeling

## Slide 10
Wind Energy Modeling
in 2009 and 2010
2009 | MWh | NCF
Charlotte | 3818.9 | 29.1%
Boulder | 3278.4 | 24.9%
Boston | 5440.1 | 41.4%
Tucson | 2769.9 | 21.1%
2010 | MWh | NCF
Charlotte | 3544.6 | 27.0%
Boulder | 2676.9 | 20.4%
Boston | 6107.7 | 46.5%
Tucson | 2969.9 | 22.6%
Chart: Yearly Net Capacity Factor
| Charlotte | Boulder | Boston | Tucson
2009 | 0.23144 | 0.25507 | 0.23448 | 0.24269
2010 | 0.27 | 0.204 | 0.465 | 0.226
Chart: Yearly Yeild of Wind Energy
| Charlotte | Boulder | Boston | Tucson
2009 | 3819 | 3278 | 5440 | 2770
2010 | 3545 | 2677 | 6108 | 2970
Wind Energy Resources Modeling

## Slide 11
Conclusion
The performance of wind energy resources depends significantly on their location and weather conditions.
Further Work
Modeling and evaluate the wind resources backed up by energy storage systems.
References
https://www.r-bloggers.com/time-series-analysis-with-wind-resource- assessment-in-r/
https://github.com/mhdella/AWEA_WRA_Working_Group/blob/master/Example_Wind_Resource_Assessment_Using_R.md
Wind Energy Resources Modeling and Analysis