## Slide 1
Wind Energy Modeling and Analysis

## Slide 2
Four U.S. Locations for Comparison of Renewable Energy Modeling and Analysis
Charlotte NC, Boston MA, Boulder CO, Tucson AZ.

## Slide 3
Charlotte, NC

## Slide 4
Boulder, CO

## Slide 5
Boston, MA

## Slide 6
Tucson, AZ

## Slide 7
Charlotte, NC

## Slide 8
Boulder, CO

## Slide 9
Boston, MA

## Slide 10
Tucson, AZ

## Slide 11
Charlotte, NC

## Slide 12
Boulder, CO

## Slide 13
Boston, MA

## Slide 14
Tucson, AZ

## Slide 15
Charlotte, NC

## Slide 16
Boulder, CO

## Slide 17
Boston, MA

## Slide 18
Tucson, AZ

## Slide 19
Charlotte, NC

## Slide 20
Boulder, CO

## Slide 21
Boston, MA

## Slide 22
Tucson, AZ

## Slide 23
Charlotte, NC

## Slide 24
Boulder, CO

## Slide 25
Boston, MA

## Slide 26
Tucson, AZ

## Slide 27
Charlotte, NC
Month | Hours | Wind speed | MWh | NCF
1 | 744 | 6.179 | 387.574 | 34.70%
2 | 672 | 7.154 | 455.725 | 45.20%
3 | 744 | 6.374 | 410.236 | 36.80%
4 | 720 | 6.987 | 456.256 | 42.20%
5 | 744 | 6.225 | 381.352 | 34.20%
6 | 720 | 4.692 | 193.475 | 17.90%
7 | 744 | 5.073 | 230.690 | 20.70%
8 | 744 | 4.146 | 141.379 | 12.70%
9 | 720 | 4.740 | 197.738 | 18.30%
10 | 744 | 5.567 | 310.630 | 27.80%
11 | 720 | 5.918 | 355.663 | 32.90%
12 | 744 | 5.298 | 298.279 | 26.70%
MWh | NCF
3818.9 | 29.1%
While U.S. annual capacity factors from 2013 through 2016 range from 32.2% to 34.7%, "EIA - Electricity Data". www.eia.gov. Retrieved 2017-04-10.
In the United Kingdom during the five year period from 2011 to 2015 the annual capacity factor for wind was over 30% "Digest of United Kingdom energy statistics (DUKES) for 2012 to 2016:
Power Plant | Coal | CCGT | Wind | Solar PV | Nuclear
Annual Capacity Factor | 56% | 53% | 33% | 26% | 92%
Annual capacity factors 2014-2016 US average

## Slide 28
Boulder, CO
Month | Hours | Wind speed | MWh | NCF
1 | 744 | 8.377 | 413.396 | 37.00%
2 | 672 | 6.736 | 288.217 | 28.60%
3 | 744 | 6.973 | 382.094 | 34.20%
4 | 720 | 6.441 | 339.568 | 31.40%
5 | 744 | 4.745 | 222.077 | 19.90%
6 | 720 | 4.380 | 187.928 | 17.40%
7 | 744 | 4.600 | 216.100 | 19.40%
8 | 744 | 4.742 | 215.737 | 19.30%
9 | 720 | 5.381 | 268.648 | 24.90%
10 | 744 | 4.609 | 206.966 | 18.50%
11 | 720 | 4.409 | 224.898 | 20.80%
12 | 744 | 6.096 | 312.770 | 28.00%
MWh | NCF
3278.4 | 24.9%

## Slide 29
Boston, MA
Month | Hours | Wind speed | MWh | NCF
1 | 744 | 6.813 | 467.945 | 41.90%
2 | 672 | 8.320 | 584.361 | 58.00%
3 | 744 | 7.204 | 510.499 | 45.70%
4 | 720 | 7.373 | 512.191 | 47.40%
5 | 744 | 6.716 | 420.662 | 37.70%
6 | 720 | 5.166 | 239.808 | 22.20%
7 | 744 | 6.156 | 354.663 | 31.80%
8 | 744 | 5.479 | 285.923 | 25.60%
9 | 720 | 6.443 | 396.328 | 36.70%
10 | 744 | 7.271 | 504.488 | 45.20%
11 | 720 | 7.053 | 471.683 | 43.70%
12 | 744 | 8.707 | 691.553 | 62.00%
MWh | NCF
5440.1 | 41.4%

## Slide 30
Tucson, AZ
Month | Hours | Wind speed | MWh | NCF
1 | 744 | 4.705 | 262.764 | 23.50%
2 | 672 | 4.705 | 247.664 | 24.60%
3 | 744 | 4.867 | 259.804 | 23.30%
4 | 720 | 6.585 | 378.228 | 35.00%
5 | 744 | 4.501 | 184.679 | 16.50%
6 | 720 | 4.496 | 188.630 | 17.50%
7 | 744 | 3.697 | 111.523 | 10.00%
8 | 744 | 3.897 | 143.448 | 12.90%
9 | 720 | 4.725 | 223.078 | 20.70%
10 | 744 | 4.905 | 258.261 | 23.10%
11 | 720 | 4.627 | 236.885 | 21.90%
12 | 744 | 5.020 | 274.958 | 24.60%
MWh | NCF
2769.9 | 21.1%

## Slide 31
Charlotte, NC

## Slide 32
Boulder, CO

## Slide 33
Boston, MA

## Slide 34
Tucson, AZ

## Slide 35
Charlotte, NC

## Slide 36
Boulder, CO

## Slide 37
Boston, MA

## Slide 38
Tucson, AZ

## Slide 39
Charlotte, NC

## Slide 40
Boulder, CO

## Slide 41
Boston, MA

## Slide 42
Tucson, AZ

## Slide 43
Charlotte, NC

## Slide 44
Boulder, CO

## Slide 45
Boston, MA

## Slide 46
Tucson, AZ